## Sheet1
| glazing_ratio | wall_u_value | window_u_value | window_sghc | infiltration_rate | chiller_cop | indoor_temp_set_point | equipment_load_density | lighting_load_density | occupancy_density | wall_albedo | roof_albedo | wall_emissivity | roof_emissivity | floor_height | roof_u_value | temp_average | hdd_results | hdd_10C_results | cdd_results | daily_average_max_temperature | daily_average_min_temperature | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
0 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
1 | 0.28142 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8595 | 127.7 | 0 | 144.5 | 26.9571 | 14.9429 | 17.1143 | 16.4714 | 15.8857 | 15.3571 | 15.6286 | 16.3571 | 17.5 | 18.8714 | 20.5 | 22.2 | 23.6 | 24.8286 | 25.9143 | 26.2857 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2571 | 17.2429
2 | 0.16671 | 0.64159 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8488 | 128.2 | 0 | 143.9 | 26.9429 | 14.9286 | 17.1143 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
3 | 0.16671 | 0.56301 | 3.0349 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
4 | 0.16671 | 0.56301 | 2.5866 | 0.45595 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8494 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.2 | 23.5714 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
5 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.89662 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8494 | 128.1 | 0 | 143.9 | 26.9429 | 14.9429 | 17.1 | 16.4714 | 15.8857 | 15.3571 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
6 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 5.5703 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8482 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
7 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.375 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.847 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0714 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
8 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 4.7139 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8464 | 128.5 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6143 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8571 | 20.9 | 20.0286 | 19.2429 | 17.2429
9 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.4329 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
10 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
11 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.37805 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
12 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.46895 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8482 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
13 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.83059 | 0.86006 | 2.8363 | 0.19489 | 20.85 | 128.2 | 0 | 144 | 26.9571 | 14.9286 | 17.1143 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2429 | 17.2429
14 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.83994 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
15 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8556 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1143 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
16 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.3838 | 20.8482 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 17.0857 | 16.4571 | 15.8857 | 15.3429 | 15.6286 | 16.3429 | 17.4857 | 18.8571 | 20.4714 | 22.1857 | 23.5571 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
17 | 0.16671 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8524 | 127.9 | 0 | 144 | 26.9571 | 14.9429 | 17.1 | 16.4857 | 15.8857 | 15.3571 | 15.6286 | 16.3571 | 17.4857 | 18.8571 | 20.4714 | 22.2 | 23.5714 | 24.8 | 25.8857 | 26.2857 | 26.2857 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2429 | 17.2429
18 | 0.28142 | 0.56301 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2571 | 17.2571
19 | 0.28142 | 0.64159 | 2.5866 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571
20 | 0.28142 | 0.64159 | 3.0349 | 0.63035 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8637 | 127.2 | 0 | 144.6 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.8857 | 20.4857 | 22.2 | 23.6 | 24.8286 | 25.9143 | 26.3 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571
21 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.65338 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8661 | 127.4 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1143 | 16.4857 | 15.8857 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571
22 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 6.0333 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2571 | 17.2571
23 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.125 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.869 | 127.2 | 0 | 144.9 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6429 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3429 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2714 | 17.2571
24 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 5.0848 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8685 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6429 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2714 | 17.2571
25 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.3671 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571
26 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571
27 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.36419 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2571 | 17.2571
28 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.41283 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.1 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.8857 | 20.5 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571
29 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.86006 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2571 | 17.2571
30 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.86006 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2571 | 17.2571
31 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8363 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571
32 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.19489 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9 | 20.0286 | 19.2571 | 17.2571
33 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 17.1286 | 16.4857 | 15.9 | 15.3571 | 15.6286 | 16.3714 | 17.5 | 18.9 | 20.4857 | 22.2143 | 23.6286 | 24.8286 | 25.9143 | 26.3286 | 26.3 | 26.1286 | 25.3286 | 24.1 | 22.9571 | 21.8714 | 20.9143 | 20.0286 | 19.2571 | 17.2571