## Sheet1
| glazing_ratio | wall_u_value | window_u_value | window_sghc | infiltration_rate | chiller_cop | indoor_temp_set_point | equipment_load_density | lighting_load_density | occupancy_density | wall_albedo | roof_albedo | wall_emissivity | roof_emissivity | floor_height | roof_u_value | temp_average | hdd_results | hdd_10C_results | cdd_results | daily_average_max_temperature | daily_average_min_temperature | UHII
0 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0304
1 | 0.28142 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8595 | 127.7 | 0 | 144.5 | 26.9571 | 14.9429 | 1.0369
2 | 0.16671 | 0.64159 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8488 | 128.2 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0315
3 | 0.16671 | 0.56301 | 3.0349 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0304
4 | 0.16671 | 0.56301 | 2.5866 | 0.45595 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8494 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 1.031
5 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.89662 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8494 | 128.1 | 0 | 143.9 | 26.9429 | 14.9429 | 1.0321
6 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 5.5703 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8482 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 1.031
7 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.375 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.847 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0298
8 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 4.7139 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8464 | 128.5 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0292
9 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.4329 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0304
10 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0304
11 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.37805 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0304
12 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.46895 | 0.86006 | 0.86006 | 2.8363 | 0.19489 | 20.8482 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 1.031
13 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.83059 | 0.86006 | 2.8363 | 0.19489 | 20.85 | 128.2 | 0 | 144 | 26.9571 | 14.9286 | 1.0327
14 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.83994 | 2.8363 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0304
15 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8556 | 0.19489 | 20.8476 | 128.4 | 0 | 143.9 | 26.9429 | 14.9286 | 1.0304
16 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.36419 | 0.41283 | 0.86006 | 0.86006 | 2.8363 | 0.3838 | 20.8482 | 128.4 | 0 | 144 | 26.9571 | 14.9286 | 1.031
17 | 0.16671 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8524 | 127.9 | 0 | 144 | 26.9571 | 14.9429 | 1.0333
18 | 0.28142 | 0.56301 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0423
19 | 0.28142 | 0.64159 | 2.5866 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0429
20 | 0.28142 | 0.64159 | 3.0349 | 0.63035 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8637 | 127.2 | 0 | 144.6 | 26.9714 | 14.9429 | 1.0405
21 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.65338 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8661 | 127.4 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0417
22 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 6.0333 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0423
23 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.125 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.869 | 127.2 | 0 | 144.9 | 26.9714 | 14.9429 | 1.044
24 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 5.0848 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8685 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0435
25 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.3671 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0429
26 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0429
27 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.36419 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0423
28 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.41283 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.1 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0423
29 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.86006 | 0.83994 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0423
30 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.86006 | 2.8556 | 0.3838 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0423
31 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8363 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0429
32 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.19489 | 20.8667 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0423
33 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.37805 | 0.46895 | 0.83059 | 0.83994 | 2.8556 | 0.3838 | 20.8673 | 127.2 | 0 | 144.8 | 26.9714 | 14.9429 | 1.0429