## Sheet1
| glazing_ratio | wall_u_value | window_u_value | window_sghc | infiltration_rate | chiller_cop | indoor_temp_set_point | equipment_load_density | lighting_load_density | occupancy_density | wall_albedo | roof_albedo | wall_emissivity | roof_emissivity | floor_height | roof_u_value | temp_average | hdd_results | hdd_10C_results | cdd_results | daily_average_max_temperature | daily_average_min_temperature | UHII
0 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
1 | 0.28142 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0827 | 2892.5 | 1498.1 | 0 | 4.2429 | -1.8714 | 1.8571
2 | 0.16671 | 0.64159 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0637 | 2895.7 | 1501.3 | 0 | 4.2286 | -1.9143 | 1.8381
3 | 0.16671 | 0.56301 | 3.0349 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0649 | 2895.5 | 1501.1 | 0 | 4.2286 | -1.9143 | 1.8393
4 | 0.16671 | 0.56301 | 2.5866 | 0.45595 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0631 | 2895.8 | 1501.4 | 0 | 4.2286 | -1.9143 | 1.8357
5 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.89662 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0917 | 2891 | 1496.6 | 0 | 4.3 | -1.8714 | 1.8649
6 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 5.5703 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
7 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.375 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0625 | 2895.9 | 1501.5 | 0 | 4.2286 | -1.9143 | 1.8381
8 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 4.7139 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
9 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.4329 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
10 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
11 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.4293 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
12 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.528 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0613 | 2896.1 | 1501.7 | 0 | 4.2286 | -1.9143 | 1.8363
13 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
14 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
15 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8556 | 0.19489 | 1.0589 | 2896.5 | 1502.1 | 0 | 4.2286 | -1.9143 | 1.8345
16 | 0.16671 | 0.56301 | 2.5866 | 0.63035 | 0.65338 | 6.0333 | 22.125 | 5.0848 | 4.3671 | 0.022176 | 0.40774 | 0.4834 | 0.791 | 0.791 | 2.8363 | 0.3838 | 1.0595 | 2896.4 | 1502 | 0 | 4.2286 | -1.9143 | 1.8351
17 | 0.16671 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1196 | 2886.3 | 1491.9 | 0 | 4.3 | -1.8571 | 1.8887
18 | 0.28142 | 0.56301 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.144 | 2882.2 | 1487.8 | 0 | 4.3143 | -1.8143 | 1.9107
19 | 0.28142 | 0.64159 | 2.5866 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1381 | 2883.2 | 1488.8 | 0 | 4.3 | -1.8286 | 1.906
20 | 0.28142 | 0.64159 | 3.0349 | 0.63035 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1411 | 2882.7 | 1488.3 | 0 | 4.3 | -1.8143 | 1.9107
21 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.65338 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.119 | 2886.4 | 1492 | 0 | 4.3 | -1.8571 | 1.8881
22 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 6.0333 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
23 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.125 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1458 | 2881.9 | 1487.5 | 0 | 4.3143 | -1.8143 | 1.9125
24 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 5.0848 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
25 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.3671 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
26 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
27 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.40774 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
28 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.4834 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1452 | 2882 | 1487.6 | 0 | 4.3143 | -1.8143 | 1.9125
29 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
30 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
31 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8363 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137
32 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.19489 | 1.1494 | 2881.3 | 1486.9 | 0 | 4.3143 | -1.8143 | 1.9155
33 | 0.28142 | 0.64159 | 3.0349 | 0.45595 | 0.89662 | 5.5703 | 22.375 | 4.7139 | 4.4329 | 0.022176 | 0.4293 | 0.528 | 0.791 | 0.791 | 2.8556 | 0.3838 | 1.1476 | 2881.6 | 1487.2 | 0 | 4.3143 | -1.8143 | 1.9137